3 – 144 Elliot Street, Newton 1444162

All Grants of Location for the City of Newton must answer the following in detail:

1. Are there any leaks on this road? If yes, how many?

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| WO# | Leak number | Date reported | RPT\_ST\_NUMBER | RPT\_ST\_NAME | RPT\_ST\_SFX |  |  |
| 1444162 | 1215753 | 05-May-13 | 52 | ELLIOT | ST | FRANCES | ST |
| 1444162 | 839999 | 23-Mar-12 | 115 | ELLIOT | ST | CIRCUIT | AVE |
| 1444162 | 270315 | 29-Sep-03 | 144 | ELLIOT | ST |  |  |

1. If not, why is the gas main being extended or replaced?

Apart from the leaks, this project is part of the cast iron main replacement program of 10-inch, 12-inch and 14-inch pipe or (CIRE101214)

1. Is it in response to upcoming roadwork or new development?

No, please see leak prone program described above.

1. Is capacity increasing? If yes, why?

Capacity is increasing. This was determined by comparing the diameter and pressure for the pipe being replaced.

Requested by the Commissioner: When NationalGrid engineers develop the GOL plans these standard questions be answered in a written format & submitted with the GOL package.