PETITION OF NATIONAL GRID FOR GAS MAIN LOCATIONS

City of Newton / City Council:

The Nationalgrid hereby respectfully requests your consent to the locations of mains as hereinafter described for the transmission and distribution of gas in and under the following public streets, lanes, highways and places of the City of Newton and of the pipes, valves, governors, manholes and other structures, fixtures and appurtenances designed or intended to protect or operate said mains and accomplish the objects of said Company; and the digging up and opening the ground to lay or place same:

As part of the CIRE Program, Nationalgrid recommends the relay of:

--> approximately 1840 feet of 10- inch, Cast Iron (1924) and approximately 10 feet of 8- inch, Cast Iron (1926) with approximately 1850 feet of 8- inch, Plastic in Elliot St from the existing 24 inch, Cast Iron in Boylston St to

the new 6 -inch, Plastic in the intersection of Circuit Av and Elliot St,

--> approximately 35 feet of 3- inch, Coated Steel (1961) and approximately 300 feet of 4- inch, Coated Steel (1961) branched service with approximately 335 feet of 2- inch, Plastic to #978 Boylston St,

--> approximately 110 feet of 4-inch, Bare Steel (1953) and approximately 135 feet of 4- inch, Cast Iron (1923) with approximately 245 feet of 4 -inch, Plastic in Josselyn PL from the new 8- inch, plastic in Elliot St to the end of main at #16 Josselyn PL,

--> approximately 220 feet of 6- inch, LP cast iron (1924) and approximately 65 feet of 6- inch, Plastic (2010) with approximately 285 feet of 4 -inch, Plastic in Frances St from the new 8 -inch, Plastic in Elliot St to the end of main at #22 Frances St,

--> approximately 50 feet of 6- inch, Cast Iron (1926) with approximately 50 feet of 4-inch, Plastic stub in Charles St from the new 6- inch, Plastic. Cast Iron in Elliot St (cut and cap the existing 6 -inch, Cast Iron in Charles St), and

--> install approximately 50 feet of 4 -inch, Plastic stub in the intersection of Elliot St and Margaret Rd from the new 8- inch, Plastic in Elliot St

Date:  December 2, 2022

By:            Mary Mulroney

Mary Mulroney

Permit Representative

City of Newton / City Council:

IT IS HEREBY ORDERED that the locations of the mains of the Nationalgrid for the transmission and distribution of gas in and  under the public streets, lanes, highways and places of the City of Newton substantially as described in the petition date December 2, 2022 attached hereto and hereby made a part hereof, and of the pipes, valves, governors, manholes and other structures, fixtures and appurtenances designed or intended to protect or operate said mains and/or accomplish the objects of said Company, and the digging up and opening the ground to lay or place same, are hereby consented to and approved.

The said Nationalgrid shall comply with all applicable provisions of law and ordinances of the City of Newton applicable to the enjoyment of said locations and rights.

Date this _________________ day of _______________________, 20____.

I hereby certify that the foregoing order was duly adopted by the ______________________ of

the City of _______________________, MA on the ______ day of ________________, 20____.

WO # 1444162

By:

Title